﻿

# AUDIT CHECKLIST

Laboratory-Security

Yes       No      N/A

O         O       O       1.      Is a policy in place to keep restricted areas from unintended visitor access (don’t prop doors open, etc.)?

O         O       O       2.      Are there procedures for notifying appropriate authorities should any potentially harmful substance be taken from the lab?

O         O       O       3.      Are employees trained on recognizing suspicious packages, mail, material, or substances?

O         O       O       4.      Are employees trained on proper procedures to follow should they find a suspicious substance, material, mail, or package?

O         O       O       5.      Are procedures in place to monitor purchases and inventory of hazardous materials or substances?

O         O       O       6.      If the laboratory performs testing on matters that could be of public concern, do you have methods for ensuring confidentiality and for disseminating necessary information to the public?

Laboratory-Policy

Yes       No      N/A

O         O       O       7.      Does your policy provide for the safety of visitors and non-laboratory employees?

O         O       O       8.      Are appropriate emergency procedures in place (evacuation, clean-up, etc.)?

O         O       O       9.      Are at least two employees present in the laboratory when hazardous procedures are performed?

O         O       O       10.         Is desk work using writing materials, reference books, and journals done in laboratory where these materials cannot become contaminated with hazardous agents?

Laboratory-Chemicals

Yes       No      N/A

O         O       O       11.         Are chemicals handled and stored properly?

O         O       O       12.         Are hoods and other ventilation devices used to prevent airborne substances from escaping into the working atmosphere?

O         O       O       13.         Are employee exposures to chemicals kept within safe levels?

Laboratory-Hygiene

Yes       No      N/A

O         O       O       14.         Is mouth pipetting prohibited?

O         O       O       15.         Is eating, drinking, chewing gum, smoking, application of makeup or storage of food prohibited in laboratory?

O         O       O       16.         Are Universal Precautions required for handling of all human blood and body fluids specimens for hematologic, microbiologic, chemical and serologic testing?

Laboratory-Sharps

Yes       No      N/A

O         O       O       17.         Are syringes and needles disposed of properly?

O         O       O       18.         Are sharp objects such as syringe needles, glass pasteur pipettes, etc., only used when there is no alternative available?

Laboratory-Personal Protective Equipment (PPE)

Yes       No      N/A

O         O       O       19.         Has a proper hazard assessment been performed to determine what PPE is necessary?

O         O       O       20.         Is proper PPE provided, worn, and maintained properly according to hazards present?

O         O       O       21.         Do employees wear protective clothing appropriate for agents handled in the laboratory?

O         O       O       22.         Are laboratory coats not permitted outside of laboratory areas?

O         O       O       23.         Are lab coats laundered or disposed of in an appropriate manner? (Home laundering of laboratory coats and other protective clothing is not permitted.)

O         O       O       24.         Are contaminated gloves and PPE disposed of properly?

Laboratory-Emergency Equipment

Yes       No      N/A

O         O       O       25.         Is equipment such as safety showers, eyewash station, etc., readily available?

O         O       O       26.         Are appropriate first-aid supplies available?

O         O       O       27.         Are spill kits available as needed?

O         O       O       28.         Are fire extinguishers present, appropriate for situation, and inspected and maintained properly?

O         O       O       29.         Is emergency lighting adequate?

O         O       O       30.         Do you have an alarm system to alert people in all parts of the facility including isolation areas such as cold rooms?

Laboratory-Electrical

Yes       No      N/A

O         O       O       31.         Is all electrical equipment grounded?

O         O       O       32.         Are ground fault circuit interrupters used whenever equipment is in a wet environment such as a cold room?

O         O       O       33.         Are electrical apparatus plugged into sockets that can be reached safely, without exposure to hazards?

O         O       O       34.         Is equipment, including electrical plugs and cords, kept in good repair?

Laboratory-Heating Devices

Yes       No      N/A

O         O       O       35.         Do you make certain not to leave uncontrolled heat sources such as Bunsen burners and heat guns, used near flammable substances, unattended?

O         O       O       36.         Do hot plates, heating mantles, and other heaters have enclosed elements and controls with a thermal shut-off safety device?

Laboratory-Cryogenic Liquids

Yes       No      N/A

O         O       O       37.         Are cryogenic liquids stored properly?

O         O       O       38.         Are all personnel handling cryogenic liquids properly trained in the use of specialized equipment designed for the storage, transfer, and handling of these products?

Laboratory-Compressed Gas Cylinders

Yes       No      N/A

O         O       O       39.         Are proper safety precautions taken with regard to compressed gas cylinders (i.e., stored properly, inspected)?

Laboratory-Ventilation

Yes       No      N/A

O         O       O       40.         Are appropriate general ventilation system with air intakes and exhausts located so as to avoid intake of contaminated air?

O         O       O       41.         Are stockrooms/storerooms adequate and well ventilated?

O         O       O       42.         Is the work conducted and its scale appropriate to the physical facilities available and, especially, to the quality of ventilation?

Laboratory-Medical Surveillance

Yes       No      N/A

O         O       O       43.         Is regular medical surveillance established to the extent required by regulations governing your laboratory?

Laboratory-Waste Disposal

Yes       No      N/A

O         O       O       44.         Does the laboratory have a waste disposal program that specifies how waste is to be collected, segregated, stored, and transported?

O         O       O       45.         Does the program include consideration of what materials can be incinerated?

O         O       O       46.         Is waste transported from the institution in accordance with DOT regulations?

Laboratory-Training

Yes       No      N/A

O         O       O       47.         Have all employees been adequately informed about the work in the laboratory, its risks, and what to do if an accident occurs?

Laboratory-Recordkeeping

Yes       No      N/A

O         O       O       48.         Are accident records written and retained?

O         O       O       49.         Do you keep inventory and usage records for high-risk substances?

O         O       O       50.         Are medical records retained in accordance with the requirements of state and federal regulations?

Laboratory-Signs and Labels

Yes       No      N/A

O         O       O       51.         Are labels present showing contents of containers (including waste receptacles) and associated hazards?

O         O       O       52.         Are location signs displayed for safety showers, eyewash stations, other safety and first aid equipment, exits and areas where food and beverage consumption and storage are permitted?

O         O       O       53.         Are emergency phone numbers posted prominently?