# Location: WWTF LAB             Date of Inventory: 1-24-05

| Chemical/Product Name | Estimated Maximum Quantity at Any One Time Throughout Year | Quantity On Hand at Time of Inventory | MSDS on File (?) |
| --- | --- | --- | --- |
| Alcotabs | 1 500 ml container | ½ cont | Y |
| Alcohol Swabs | 1 case | ¾ case | Y |
| Ammonium Hydroxide | 1 gallon | .5 gallons | Y |
| DPD Reagent | 3 pks | 1 pk | Y |
| Desiccant | 1- 2 liter jar | 1 – 2 liter jar | Y |
| Hydrochloric Acid | 2 gallons | .5 gallons | Y |
| Hydrochloric Acid Solutions | 1 gallon | .5 gallons | Y |
| Liqui-Nox Detergent | 1 gallon | .5 gallons | Y |
| Micro Detergent | 1 gallon | 1 gallon | Y |
| Mercury Thermometers | 12 | 6 | Y |
| O2 Probe Solution | 3 bottles | 1 bottle | Y |
| PH Sorage Solution | 3 containers | 1 container | Y |
| PH Electrode Cleaner | 1 liter | 1 liter | Y |
| PH Filling Solution | 200 mls | 200 mls | Y |
| PH Buffer 4.0 | 1 gallons | .25 gallons | Y |
| PH Buffer 7.0 | 1 gallon | .5 gallons | Y |
| PH Buffer 10.0 | 20 caplets | 15 caplets | Y |
| Sodium Hydroxide Solutions .05n | 500 mls | 250 mls | Y |
| Sporicidin Soap | 1 gallon | 1 gallon | Y |
| Sulfuric Acid (90 to 92%) | 2 gallons | 1.5 gallon | Y |
| Sulfuric Acid Solution < 10 % | 500mls | 500 mls | Y |

Chemical Inventory Log

# Location: Spares                        Date of Inventory:

| Chemical/Product Name | Estimated Maximum Quantity at Any One Time Throughout Year | Quantity On Hand at Time of Inventory | MSDS on File (?) |
| --- | --- | --- | --- |
| Chemicals |  |  |  |
| Soaps and Detergents |  |  |  |