## Sheet1
Self-Audit Safety Checklist for School Classrooms
Purpose: This checklist is a guide to help create a safe workplace and to reduce the risk of injuries and accidents. This is not a complete list, but includes some key items needed to initiate, or enhance, a safety program at your workplace.
Electrical | Y | N | Corrective Action Taken | Date/Initials
Electrical outlets and switches - cover plates installed, intact
No blocked electrical panels (36" in all directions)
No household/residential appliances are being used (light fixtures, seasonal lights, oil diffusers, coffee makers, dorm fridges, hot plates, space heaters, toasters, etc.)
GFCI receptacles are installed near wet locations (sinks, drinking water, etc.)
Extension cords are not used for permanent wiring
Power cords - electrical grounding pins (3-prong) intact
Power strips and extension cords are not piggybacked (daisy chain)
Emergency Egress | Y | N | Corrective Action Taken | Date/Initials
Exit doors are accessible, and not blocked, including aisles (6')
Fire alarm pull stations, fire extinguishers, strobe and emergency lights are kept clear (36" in all directions)
Exit doors are marked
The Emergency Action Plan is available; training conducted
Fire rated doors are not propped open
Evacuation routes are posted with primary and secondary routes
Fire Prevention | Y | N | Corrective Action Taken | Date/Initials
Items are not hung from ceiling or obstructing sprinklers
Paper on walls is limited to 20% of the wall (no sprinkler)
Nothing is stored on HVAC units (heating, ventilation, air cond.)
Nothing is stored within 24" of the ceiling
Light filters comply with NFPA codes
Hazardous Chemicals | Y | N | Corrective Action Taken | Date/Initials
Containers kept closed, labeled
Safety Data Sheet (SDS) for each product is available in the building and you know where to find it (Right-to-Know Station)
No household products brought in per VT Green Cleaning Products Law (Chorox disinfecting wipes, Lysol cleaner, etc.)
Shelves | Y | N | Corrective Action Taken | Date/Initials
Shelves are secured from tipping
Slip, Trip, Fall Prevention | Y | N | Corrective Action Taken | Date/Initials
Floors are maintained as dry as feasible
Items are stored to prevent falling from overhead locations
Proper footwear is worn to prevent slips, trips, and falls
Wet floors are cleaned immediately
Floors are kept free of tripping hazards (power cords, boots, clutter)
Carpet and mats are smooth and not creased
A commercially rated ladder or step-stool is available so employees do not step on chairs or desks (Type 1A, rated for 300 lbs.)
Air Quality | Y | N | Corrective Action Taken | Date/Initials
Univents are kept clear and unobstructed; no storage on vents
Moisture from plants, aquariums, sinks is controlled
Asbestos materials, if present, are kept in good condition
Essential oil diffusers are not being used
First Aid Kit | Y | N | Corrective Action Taken | Date/Initials
A first aid kit is available and accessible to employees and is checked regularly for supplies