## Sheet1
Self-Audit Safety Checklist for Facility Maintenance Areas/Custodial
Purpose: This checklist is a guide to help create a safe workplace and reduce the risk of work-related injuries. This is not a complete list, but includes some key items needed to initiate a safety program at your workplace. These guidelines are based on OSHA Standards (29 CFR 1910).
Boiler Room | Y | N | Correction Required | Date/ Initials
Hartford Steam Boiler inspection is current
Sprinkler system inspection is current
Emergency shut off switches are located outside the boiler room
If the system has glycol, when was it last inspected?
Only items associated with operations of the boiler room and/or mechanical rooms are stored in these areas
Exits and Emergency Preparedness | Y | N | Correction Required | Date/ Initials
Fire drills are conducted on a regular basis
Adequate number of exits for emergency escape
No locked, chained or barred exits restricting escape
Emergency exits adequately illuminated
Exterior exit surfaces clear for prompt exit
Exit discharge areas and outside steps kept clear of snow, ice, or debris accumulations which could impede egress.
Flammable or combustible materials removed from exit areas
Exterior exit doors open outward to flat surface
Fire doors are kept closed (unless equipped with a self-closing mechanism)
Nothing is blocking fire doors
Mirrors are not adjacent to an exit in a way which could confuse the direction of egress
Draperies and similar hangings do not obscure an exit
Vending machines, display boards, signs, coat racks and any other movable equipment do not obstruct the path of egress travel
Exit access corridors have a six foot clear width
Fire extinguishers are checked once per month by staff and annually by a qualfied inspection servicer
Emergency lighting is checked once per month for 30 seconds
Written and posted emergency evacuation plan with exit map for all areas (primary and secondary routes)
Areas of Assembly (gym, auditorium, multi-purpose rooms) | Y | N | Correction Required | Date/ Initials
All assembly rooms display a sign posting the maximum capacity
When using the area during school hours or for any other purpose, the maximum capacity is not exceeded
When arranging folding seats or chairs for programs, exit aisles are maintained. Aisles are not less than 36" wide where serving seats on one side only, and not less than 42" wide where serving seats on both sides. The space between parallel rows of seats must not constitute an aisle. Not more than six seats shall intervene between any seat and an aisle (12 seats per parallel row). All aisle spaces are unobstructed.
Electrical | Y | N | Correction Required | Date/ Initials
Electrical outlets and switches - cover plates installed
Receptacles are grounded
Receptacles in kitchens and wet locations have GFCI
Only UL-approved grounded, three-prong plug heavy duty extension cords are used
Extension cords are not used for permanent wiring
Power cords - electrical grounding pins (3-prong) intact
Power strips are not connected (daisy-chain)
Surge protectors are only used with electronic computer equipment or equipment that requires such protection
Circuit panels have circuits labeled
Circuit panels and boxes - unused openings are covered
Circuit panels - access to panels is kept clear (36 inches in front of the width of all electrical panels)
Wiring or extension cords do not run under carpeting, above ceilings, or through walls
Cords and plugs on electrical equipment as well as extension cords are visually inspected before each use (looking for missing or deformed prongs, loose parts, damaged outer jacket or insulation, pinched or crushed outer jacket).
Fire Prevention | Y | N | Correction Required | Date/ Initials
Fire extinquishers - monthly visual check conducted by school personnel; initial and date
Fire extinguishers - annual inspection
Flammables stored away from ignition sources
Sprinkler heads - items not hung or obstructing sprinklers (within 24")
Draperies, curtains, and similar furnishings and decorations are flame resistant and certified as passing the flame resistance testing of NFPA 701 and do nt exceed 10% of wall and ceiling areas.
Display of live or fresh-cut trees is prohibited and not used
Storage areas and supply rooms are kept neat and orderly. Empty cartons, old decorations, and other items are not allowed to accumulate. Storage of these materials are separated from heat sources.
Student-prepared artwork and teaching materials attached directly to walls do not exceed 20% of wall areas.
Nothing is stored within 24" of the ceiling.
Floor Condition | Y | N | Correction Required | Date/ Initials
No slip, trip, or fall hazards
Floors kept clean, orderly and dry
No standing water
Nonslip surfaces
Broken, damaged floor or stair treads repaired
Protruding object, loose boards, spills cleaned/repaired
Floor Refinishing | Y | N | Correction Required | Date/ Initials
Neoprene gloves and overboots worn when stripping floors
Ventilation provided when stripping and finishing floors
Aisles | Y | N | Correction Required | Date/ Initials
Unobstructed
Corners unobstructed to offer clear view
Sufficiently wide for material handling
Ventilation | Y | N | Correction Required | Date/ Initials
Adequate ventilation for the process
Hoods properly connected to exhaust system
Hoods draw air away from people
Clean-out ports for ducts provided
Maintenance clean-out schedule observed
Fans properly guarded
Ladders | Y | N | Correction Required | Date/ Initials
Ladders are inspected before each initial use
Ladders used according to purpose for which it is designed
Safety feet in good operable condition
Clean rungs (unpainted)
No splinters on wood ladders
No metal or aluminum ladders in electrical areas
Commercial, Type 1A, rated for 300 lbs.
Only one person on a ladder at a time
If used above roof, 3-foot extension above roof level
Danger tags available for defective ladders
Tied at top and properly positioned
Scaffolds or Platforms | Y | N | Correction Required | Date/ Initials
Nonskid flooring
Level and plumb
Safe access to platforms
3-1/2" toeboard around all four sides of platform
Working platforms at least 2 feet wide
All access gates self-closing and locking
No accumulation of tools and materials
Lighting | Y | N | Correction Required | Date/ Initials
Illumination level sufficient for work performed
Emergency lighting adequate and operating
Task lighting on close-vision jobs
Lighting is in good repair and free from broken glass, missing covers, and loose or visible wires.
Emergency lighting of all exit routes
Lock-out-Tagout | Y | N | Correction Required | Date/ Initials
Power is shut off before equipment maintenance (i.e. HVAC, appliances, lighting)
Lockout-tagout equipment is available: Tags, locks
Material Storage | Y | N | Correction Required | Date/ Initials
Stored material is secure and stable
Stored material does not create a trip, fire, or pest hazard
Mezzanines - railing if more than 4 feet above next level
Shelves - item height is at least 18 inches below sprinkler heads
Heavy items stored in manner to reduce lifting injury
Personal Protective Equipment (PPE) | Y | N | Correction Required | Date/ Initials
Gloves, goggles, ear plugs, overboots are supplied for tasks with potential exposure to chemiclas or particulates
Roof | Y | N | Correction Required | Date/ Initials
Skylights are protected by guardrail, cage or net
Workers on roof for maintenance activity are protected from falling off roof. Designated areas and training required
Stairs | Y | N | Correction Required | Date/ Initials
Handrail and railing on stairs and exposed landings
Stairs kept clear. No storage of material on stairs
Platform provided when a door opens directly onto a stairway
Uniform height and tread depth
No worn or damaged stair treads
At least 22" wide
Grating-type tread on exterior stairs
Sturdy railings on all open sided
Proper lighting on stair areas
Platform levels to break long flights of stairs
Storage of Fuel Powered Lawn Equipment | Y | N | Correction Required | Date/ Initials
Gasoline and diesel fuel powered lawn and garden equipment (including snow-blowers) is stored in an appropriate, detached (outside) equipment storage building. If no, then choose the primary or secondary alternative
Primary alternative: If outside storage facilities are not available on the school grounds a room in the school building that is designed with at least a 1-hour fire resistant rating and/or is protected by an automatic fire suppression system that has an access door leading directly to the outside without an entrance door into the building (these rooms are often referred to as "can" or "can washing" rooms and are usually located near the loading dock) is used.
Seconday alternative: If the previous two features do not exist in or on school property, then a room with a self-closing 3/4 hour fire-rated door leading into the school from a room that has at least a 1-hour fire resistant rating and that is protected by an automatic fire suppression system is used to store gasoline and diesel fuel powered lawn and garden equipment. The interior door displays a sign indicating "Equipment Storage". The room is always locked.
Fuel storage: In any of the storage solutions described above, fuel is stored in an approved 5-gallon (max.) metal safety can (flammable liquids).
If additional fuel storage is necessary (beyond 30 days) an operational permit is obtained from the Fire Marshal's Office by the school administration.
Onsite flammable liquids never exceed 60 gallons.
Fueling equipment: The filling or removal of fuel in gas tanks (storage or equipment) is never conducted inside school buildings. All fueling operations are conducted outside the building, in open air. Report any fuel spills immediately.
Security: In any of the storage solutions described above, doors remain locked to prevent unauthorized access.
The school emergency reponse plan specifies the location of the fuel and equipment storage.
Tools and Equipment | Y | N | Correction Required | Date/ Initials
Power tools inspected before use
Power tools - electrical cords are 3-prong or double insulated
Snowblowers: machine guards and push sticks available
Lawnmowers: machine guards. Ride-on mowers have ROPS and seatbelts
Mobile scaffolds: workers trained on use and stability
Good condition of connecting cords, tools, and air hoses
Guards and safety fixtures safe and operable
Correct load rating for work performed
Constant pressure switches on power tools
Electrical extension cords in good condition
Extension cords not connected to one another (daisy chain)
Tradespeople, mechanics, and helpers properly trained in operation of equipment
Machine Tools | Y | N | Correction Required | Date/ Initials
Guarding of power transmission equipment
Guarding of pinch points, in-running p;oints, and points of operation
Interlock guards in operation
Eye protection available where needed
Operating controls locked when not in use
Emergency stop buttons readily accessible and operable
Guards or deflect devices provided for chips/sparks from rotating equipment
Machine tool operators properly trainin in operation of equipment
Potentially Hazardous Chemicals | Y | N | Correction Required | Date/ Initials
Containers kept closed, labeled
Safety Data Sheets (SDS) available for each product; kept in accessible location
Volatile and flammable liquids are stored in approved containers and are not used in areas where there are open flames, electrical sparks, and running motors.
Bulk storage of volatile or flammable liquids are stored in a flammable-liquid closet
In the absense of a flammable-liquid closet, flammable liquids are stored in outside areas such as tractor storage rooms and locked
Eyewash provided if chemical products are corrosive
Green products are being used
Up-to-date chemical inventory completed and available
SDS available for all chemicals or federally listed hazardous chemicals
Written plan hazard communication program prepared
Employees trained in proper handling of each chemical
Labels on all supplier drums and chemicals
Labels on in-plant transfer containers
Adequate storage cabinets provided with proper venting
Proper absorbent materials on hand for spills
Drums or tanks properly bonded and grounded
Containers inspect for corrosion
Pest management is controlled by a third party vendor
Hoisting and Lifting Equipment | Y | N | Correction Required | Date/ Initials
Load capacity identified
Overhead guards in place
Limit stops working effectively
Special area for refueling and recharging of batteries
All hand and foot controls operational
Full, unrestricted view for operator
Operators properly trained in the use of the equipment
Compressed Gases | Y | N | Correction Required | Date/ Initials
Special storage area away from heat sources
Stored upright and chained to prevent falling over
Contents legibly marked and segregated by item
Caps hand-tight
Mechanics and tradespeople properly trained in operation
Receiving and Materials Handling | Y | N | Correction Required | Date/ Initials
Dock boards available
Trailer truck wheel chocks available in receiving areas
Pallets and skids in good repair
Special storage area for unused skids and pallets
Procedure to set aside broken skids and pallets
Paths, aisleways, and stairways clear of obstructions
Proper drainage to prevent accumulation of water or solvents
Power Systems - Mechanical | Y | N | Correction Required | Date/ Initials
Proper guarding of any nip points, rotating collars, cams, chucks, couplings, clutches, shafts, flywheels, spindles, bolt ends, key ends
Emergency stops fully operational
Adequate arrangements for oiling and greasing
Correct adjustment of work rest device on grinding wheels
Vent hood in place and ventilation operational for grinding wheels
Mechanics, tradespeople properly trained in the operation of these systems
Power Systems - Hydraulic | Y | N | Correction Required | Date/ Initials
Pressure lines clearly identified
Check maintenance procedures for nicks, dents, and wearing in lines
Pressure regulated within limits
Emergency stops fully operational
Mechanics and tradespeople properly trained in the operation of equipment
Power Systems - Electrical | Y | N | Correction Required | Date/ Initials
Electrical control panels clearly identified and secured
Only certified electrical specialists have access to panels
Grounding testing conducted
Explosion-proof fixtures in designated areas
Any exposed conductors at rear of switchboard
Flexible extension cords fray-free and absence of splices
Electrical specialists trained in the operation/maintenance of this equipment
Machine Guarding | Y | N | Correction Required | Date/ Initials
Guard or safety device at each point of operation
Guard fully prevents operator from reaching around guard
Guards are totally effective and unable to be bypassed
Mechanics are the only persons authorized to remove guards
Mechanics held responsible to replace guards after completing repairs
Start/Stop controls are within easy reach of operator
Operators can see entire operation
Controls clearly labeled
Two-hand grips on hand-fed power presses
Machinery can be oiled and greased without removing guards
All controls, including foot controls, guarded against accidental start-up
Adjusting or oiling procedures of moving machinery followed
No bypassing or removing guards
No operating equipment at unsafe speed
Lockout and tagout procedures implemented
Personal protective equipment is used
Mechanics or adjusters properly trained
Waste Disposal | Y | N | Correction Required | Date/ Initials
Special containers provided for different types of waste (oily rags, chemicals, scrap paper and corrugated, garbage, medical waste, bloodborne pathogens waste, etc.)
Food waste handled separately
Waste is properly labeled
Satisfactory external cartage and disposal arrangements
Trash containers/dumpsters are stored away from the building, covered when not in use, and does not show evidence of pests or insects.
Approved disposal arrangements for hazardous waste
Asbestos | Y | N | Correction Required | Date/ Initials
Asbestos containing materials maintained in good condition
Warning labels on asbestos in mechanical/custodial areas
Asbestos condition evaluated every 6 mo; management plans available in each school (AHERA)
Building Exterior | Y | N | Correction Required | Date/ Initials
No defective overhanging cornices, parapets, gutters, or tiling
No loose bricks on chimneys or stacks
Underground tank inspected
Yard and Roads | Y | N | Correction Required | Date/ Initials
No obstructions or broken surfaces on roads
Good housekeeping in yard areas
No possibly combustible materials stored in direct sunlight
No uneven or broken sidewalk surfaces
Areas of dry grass kept in check so they aren't a safety hazard
Appropriate traffic signs and markers
Confined Spaces | Y | N | Correction Required | Date/ Initials
Confined spaces are identified and signs posted
Staff not allowed to enter; third party professionals only
Confined Space Entry | Y | N | Correction Required | Date/ Initials
Persons trained who must work in confined spaces
Permit-required spaces identified
Permit-requiried space entry procedures in place
Annual Retraining
Confined space purged with fresh air
Written confined space entry program developed
Constant atmosphere testing
Rescue personnel on site
Lifelines, harness apparatus and respirators in place
Involved employees informed of entry procedures
Elevators | Y | N | Correction Required | Date/ Initials
Annual inspection current
Motors properly protected from dirt and steam
Electrical wiring in good repair
Fire extinguisher available
Protection for electrical control panels
Hoistway interlocks operating and protected
Elevator pit in good conditionand well lit
Safe load capacity of elevator marked
Emergency exit provided
Safety devices tested and working properly
Offices | Y | N | Correction Required | Date/ Initials
Floors have no slipperty surfaces due to excessive polish or wax
No holes or depressions in floors
Rugs in hallways or office are free from holes, tears
Aisles free of obstructions, including electric cords and outlets
No unsafe ladders or trolleys
General housekeeping is good
No top-heavy filing cabinets (either by loading or drawer opening)
Only one file drawer will open at a time
Lifting, including opening of windows, is performed safely
Correct use of pins, knives, scissors, staplers, paper cutter
Fire escape doors unlocked and unobstructed for exit
Glass doors either frosted or with lettering or decals
Switch and cover plates in place
No slivers in furniture or accessories
No residential appliances
No portable heaters
No storage of flammables
Fire extinguishers available; monthly/annual checks complete
First-aid facilities available
Adequate ventilation
Proper ergonomics practiced
Electric fans properly guarded
Required Training - Custodial and Facilities Maintenance | New Hire (1) |  | Refresher (2) | Date/ Initials
Asbestos Awareness | Yes |  | Performance based
Emergency action plan for all employees in facility | Yes
Hazard communication for custodial/facility workers | Yes
Ladder training for custodial/facility workers | Yes
Lockout Tagout for custodial/facility workers | Yes
Roof activity - designated areas for fall protection | Yes
Staff trained on use of equipment (snow blowers, chainsaw, mobile scaffolds, mowers, saws, etc.) Follow owner's manual | Yes
(1) - Train at new hire
(2) - Repeat training when a) new equipment or chemicals introduce new hazards to the work area; b) there is a change in procedures that present a hazard to which the employee has not been trained; or c) employer has reason to believe there are deviations from or inadequacy in employee's knowledge to perform the task safety.